{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":4,"rows_kept":20,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,3],[19,0,19,3]],"flags":["formulas_cached_only"]}
["无创呼吸机参数信息收集表"]
["生产厂家：                      设备型号：                     价格：                         联系人和电话：                       "]
["供应商：                                                                                           联系人和电话："]
["序号","设备技术和性能参数名称","应答参数和性能要求","备注说明"]
[1,"重庆市市场价格"]
[2,"该机在重庆的销售占比"]
[3,"产品认证"]
[4,"免费维保期和质保期"]
[5,"设备是否使用耗材？耗材是否为独立耗材？耗材价格？耗材是否可收费？耗材是否为药交所挂网耗材？"]
[6,"屏幕"]
[7,"模式选择"]
[8,"压力参数"]
[9,"触发与切换参数"]
[10,"电池功能"]
[11,"补偿功能"]
[12,"报警参数"]
[13,"存储功能"]
[14,"外接显示功能"]
[15,"其他参数"]
["备注：1.请潜在经销商一一对应应答，若有多点参数，请用小写的数字对应。2.本表请按设备型号单独填写，即每种型号独立填写。3.若有其他功能及配置，此表未列出，请另加表格列出。最高限价15万元。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}